## Лист1
OOO Pskov Transformer Plant
17 Dekabristov Street, Pskov,
Pskov region, 180004, Russia
8(8112)73-10-44
sales@ptz60.ru
QUESTIONNAIRE
for the supply of reactors
Reactor parameters
Number of phases |  | single-phase/three-phase
Reactor type |  | DC / AC
Reactor rated current (continuous) | А
The maximum current of the reactor (short-term) at which the inductance remains in the nominal range | А
Inductance | H
Nominal current frequency of the reactor (first harmonic frequency) for an AC reactor | hz
"Harmonic composition of the current In the case of additional harmonics other than the first, it is necessary to indicate the order of this harmonic and the magnitude of the current of this harmonic. For a DC reactor, the magnitude and frequency of the variable component (if any) shall be indicated."
Insulation class | kv
Insulation test voltage | kv
Reactor losses | W
Winding material | aluminum / copper
Maximum dimensions (WxLxH) | mm
Mounting dimentions, mounting dimention diameter | mm
Type and cross section of the cable connected to the reactor
Type of cooling | Forced / Natural
Forced cooling parameters
Airflow rate | m/s
Rated cooling air temperature (ambient) | ̊С
Maximum cooling air temperature (ambient) | ̊С
Frequency of operation at maximum ambient temperature | times a day
Standard environmental conditions and degree of protection
Degree of protection according to GOST 14254-2015
Heat resistance class GOST 8865-93
Maximum ambient temperature at natural cooling | ̊С
Climatic modification
Location environment class (4 - a room with artificial climate, 3 - a room without heating) more - GOST 15150
Special notes of the influence of external factors, increased degree of pollution, non-standard operating conditions, requirements for the availability of measuring and control equipment, terminal location.
Number of reactors | pc.
Fill Party Information
Organization
Contact person
Position
Telephone
E-mail